Instructions of Importing New Voice Message through USB Drive

- Create your own voice message for the Thermal device. The name of the voice filed can be customized, but make sure that the voice file is in “. MP3” format, and no other substitute format can be used.

- Create a new Folder to store the new voice files. The name of the folder cannot be modified. It must be “Face-voice”. The name of the sub-folders must be “normal” and “abnormal”. The storage path of the USB drive can not be modified.

- Create a new folder named “Face-voice”, and create two separate sub-folder named “normal” and “abnormal”

(2) For Normal Temperature, put the new voice file into the “normal” sub-folder.

Example: USB Drive Root Menu / Face-voice / normal /Good Morning. Mp3

(3) For Abnormal temperature, put the new voice file into the “abnormal” sub-folder.

Example: USB Drive Root Menu / Face-voice / Abnormal /dadada. Mp3

- . Make sure that the USB drive does not contain any APP upgrade package or software upgrade files.

- Insert the USB drive to the thermal device --> Hit Time display -->Enter password “6666” -->Click “Device management” -->“System Settings” -->“Voice Settings” --> Click ”USB Import Voice”

- Un-plug the USB drive when uploading is finished. Click “Normal Voice” and found your new voice file at bottom of the list. Select the new file, and click “OK”.

- Click “Abnormal Voice” and found your new voice message at bottom of the list. Select the new file, and click “OK”.

- Setting is complete, you will have new voice message when checking the temperature！